N10 GENERAL FIXTURES VANITY UNITS (Solid Surfacing).

To be read with preliminaries and general conditions

Supplier: Toilet Cubicles Ireland, Unit 15 Donore Business pk, Donore rd, Drogheda, Co Louth. Email: info@toiletcubiclesireland.ie Web: www.toiletcubiclesireland.ie

Product reference: V3

Vanity top: 12mm solid surface material polished cut outs

Up stand: 100mm cove profile finished

Apron: 200mm post formed profile down stand

Core material: Not required self supported fixed to ladder frames

Finish: Subject to Hi-Mac Colour selected

Colour: Hi-Mac selection

Edge treatment: Machined smooth polished profile or square

Panels: MFC/HPL/SGL/VENEER

Core material: subject to face

Finish: Subject to face manufacturer selected

Colour: Formwise Washrooms Ltd selection

Edge treatment: Square edge lipped as face

Accessories: Concealed Keku ‘lift off’ brackets.

Support system: Treated softwood framework, notched and screwed made to measure and site assembled.

Dimensions: Unless stipulated dimensions as the technical data provided for V3 vanity units

Other requirements: Cut outs for basins marked on site by builder